## How to use
Torchpass asset list template
One row per piece of equipment. Start with your critical equipment, then work outward.
Start here
1 | Fill the blue columns first. They're the core record: ID, building, floor, location, make, model, serial number and install date.
2 | Walk the building with a phone. Photograph each nameplate straight on, plus one photo showing where the unit sits.
3 | Delete the two grey example rows when you're done.
4 | Add the other columns as you go. Criticality and notes are the most valuable next.
5 | Set a rule: no new equipment goes live without a row in this list.
Criticality guide
| 3 · Critical | Failure affects life safety, shuts down the building or risks major damage. Generators, fire pumps, main switchgear, central plant.
| 2 · Core | Failure disrupts operations or comfort for many people. Air handlers, domestic water pumps, BAS controllers.
| 1 · Supporting | Failure is local or easy to work around. Exhaust fans, unit heaters, single-room equipment.
Naming your equipment
| Pattern | BUILDING-TYPE-NUMBER, for example B1-AHU-01 or MAIN-GEN-01.
| Keep it the same | Use the same type codes in every building: AHU, RTU, CH, BLR, PMP, GEN, ATS, FACP, EF.
| Tag it | Put the same ID on a physical tag or QR code on the equipment, so the list and the building match.
Keep it current
| When things change | Update the row the same day equipment is added, replaced or removed.
| Once a year | Walk the building with the list and fix anything that doesn't match.
From Torchpass, the free building knowledge and AI readiness screening.

## Asset list
Asset ID | Asset name | Building | Floor | Room or location | System | Asset type | Make | Model | Serial number | Install date | Warranty end | Criticality (1-3) | Condition (1-5) | Maintenance schedule | Last maintenance | Nameplate photo link | Manual or procedure link | Replacement cost (est.) | Notes and quirks
Unique name, e.g. B1-AHU-01 | Plain-language name |  |  | Where to find it | Pick from list | e.g. Air handler | Manufacturer |  |  | YYYY-MM-DD | YYYY-MM-DD | See How to use | 5 = like new | e.g. Quarterly PM | YYYY-MM-DD |  |  |  | What a new person should know
EXAMPLE B1-AHU-01 | Air handler serving floors 1-3 | Main | B1 | Mechanical room B1-04 | Air distribution | Air handler | Example Co. | AH-4000 | SN-0000-EXAMPLE | 2014-06-01 | 2019-06-01 | 2 | 3 | Quarterly PM | 2026-09-15 |  |  |  | Example row. Delete it. Supply fan belt slips in cold weather; check tension each fall.
EXAMPLE B1-GEN-01 | Emergency generator | Main | Roof | Generator enclosure | Emergency power | Generator | Example Co. | G-500 | SN-1111-EXAMPLE | 2011-03-01 | 2016-03-01 | 3 | 3 | Monthly test run | 2026-10-02 |  |  |  | Example row. Delete it.

## Lists (hidden)
Systems
HVAC plant
Air distribution
Electrical
Emergency power
Fire & life safety
Plumbing & water
Building automation
Access & security
Vertical transport
Building envelope
Front of house
Other